## A1 (hidden)
1
2
[31 empty] | Vrrm | 100 | 100 | 200 | 400 | 600 | 800 | 1000
[31 empty] | Vrms | 0 | 70 | 140 | 280 | 420 | 560
[31 empty] | Vrms/1.2 | 0 | 58.3333 | 116.6667 | 233.3333 | 350 | 466.6667
100-240VAC 频率设计40KHZ
| 1. Specification Define | [5 empty] | 1. Chip Parameter | [24 empty] | 175-240VAC 频率设计80KHZ
|  | Buck | Buck-Boost
| Min. AC input voltage, Vac_min (V) : | 90 | 90 |  |  |  | Vcc Operate Voltage (V) : | 16
| Max. AC input voltage, Vac_max (V) : | 265 | 305 |  |  |  | Vcc Startup Current (uA) : | 150 | [19 empty] | V | [13 empty] | Max DC Input Voltage at Vacmax, Vpk_H | #VALUE! | V
| Line Frequency, fac (Hz) : | 50 | 50 |  |  |  | Vcc Operate Current (mA) : | 3 | [19 empty] | V | [13 empty] | Max DC Input Voltage at Vacmin, Vpk_L | #VALUE! | V
| Max. Onput voltage, Vo_max (V) : | 65 | 40 |  |  |  | Vcc Over voltage, Vcc_ovp (V) : | 20 | [19 empty] | W | [13 empty] | Rated Output Power, Po | #NAME? | W
| Max. Onput Current, Io_max (A) : | 250 | 240 |  |  |  | Max. Turn-on time, Ton_max (us) : | 12 | [19 empty] | ohm | [13 empty] | LED current sense resistance, Rfb | #NAME? | ohm
| Estimated Efficiency, η (%) : | 90 | 90 |  |  |  | Current Sense reference, VI_ref (mV) : | 90 | [19 empty] | V | [13 empty] | Forward Drop of secondary rectifier diode, Vd | #REF! | V
| Min. Operate Frequency, Fsw (kHz) : | 45 | 48 |  |  |  | Over Current Limit | 400 | [19 empty] | V | [13 empty] | Reflect Voltage, Vr | #NAME? | V
| Vdd Voltage, Vaux (V) : | 16 | 10 | [21 empty] | Select the Diode Bridge: | [15 empty] | Select the Diode Bridge:
| Effective core area, Ae (mm^2): | 15 | 12.5 | [22 empty] | AC input rms charge current, Iacin_rms | #REF! | A | [13 empty] | AC input rms charge current, Iacin_rms | #VALUE! | A
| Max. Flux Density, Bmax (Tesla) : | 0.3 | 0.28 | [16 empty] | #VALUE! | [5 empty] | Required diode bridge output current, Iacin_r | #REF! | A | [13 empty] | Required diode bridge output current, Iacin_r | #REF! | A
[26 empty] | Required diode bridge DC blocking voltage, Vdc_r | 600 | V | [13 empty] | Required diode bridge DC blocking voltage, Vdc_r | #VALUE! | V
[22 empty] | Average rectified forward current, If_br | #REF! | A | Right! | [12 empty] | Average rectified forward current, If_br | #REF! | A | Right!
| 2. Parameter Calculation | [6 empty] | Vrrm | 100 | 100 | 200 | 400 | 600 | 800 | 1000 | [6 empty] | Maximum repetitive reverse voltage, Vrrm_br | #REF! | V | Right! | [12 empty] | Maximum repetitive reverse voltage, Vrrm_br | #REF! | V | Right!
|  | Buck | Buck-Boost |  |  |  |  | Vrms | 0 | 70 | 140 | 280 | 420 | 560 | [6 empty] | Ton_max | #NAME? | us |  |  | Average current flowing the bridge, Iav_br | #REF! | A | [8 empty] | Ton_max | #NAME? | us |  |  | Average current flowing the bridge, Iav_br | #REF! | A
| Min. DC Input Voltage, Vdc_min (V) : | 127.2792 | 127.2792 |  |  |  |  | Vrms/1.2 | 0 | 58.3333 | 116.6667 | 233.3333 | 350 | 466.6667 |  | Vin | Vin_min | Vin_max | fl
| Max. DC Input Voltage, Vdc_max (V) : | 374.7666 | 431.3351 | [5 empty] | 100-240VAC 频率设计40KHZ | [6 empty] | 85 ∽ 270Vac | 85 | 270 | 60 | [5 empty] | Preliminary calculations: | [15 empty] | Preliminary calculations:
| Rated Output Power, Po (W) : | 16.25 | 9.6 | [5 empty] | 175-240VAC 频率设计80KHZ | [6 empty] | 90 ∽ 270Vac | 90 | 270 | 60
| Max. Turn-on time, ton,max (us) : | 11.35 | 4.98 | [12 empty] | 100 ∽ 270Vac | 100 | 270 | 60
| Max input power, Pin (W) : | 18.0556 | 10.6667 |  | Ton = 4.98us, Please increase operation frequency or the input voltage! | [10 empty] | 90 ∽ 132Vac | 90 | 110 | 60
| Max. duty cycle, Dmax | 0.51 | 0.24 | [12 empty] | 100 ∽ 132Vac | 100 | 132 | 60 | [22 empty] | Max input power, Pin | #NAME? | W
[16 empty] | 160 ∽ 270Vac | 160 | 270 | 50 | [6 empty] | Peak-to-reflected voltage ratio at Vacmin, Kv_L | #REF! | [14 empty] | Peak-to-reflected voltage ratio at Vacmin, Kv_L | #REF!
[42 empty] | Duty cycle at Vacmin, D_L | #REF!
[26 empty] | Estimated maximum power factor, PF_L | #REF! | [14 empty] | Estimated maximum power factor, PF_L | #REF!
[26 empty] | Characteristic functions value at Vacmin, F1_Kv_L | #REF! | [14 empty] | Characteristic functions value at Vacmin, F1_Kv_L | #REF!
| Transformer Calculation |  |  |  | Choose | [20 empty] | F2_Kv_L | #REF! | [14 empty] | F2_Kv_L | #REF!
|  | Buck | Buck-Boost |  | Buck | Buck-Boost | [19 empty] | F3_Kv_L | #REF! | [14 empty] | F3_Kv_L | #REF!
| Primary Inductance, Lm (mH) : | 0.493 | 0.45199 |  | 0.493 | 0.452 | [19 empty] | High line calculation: | [15 empty] | High line calculation:
| MOS Peak current, Ipk (A) | 1.1111 | 1.0667 | [22 empty] | Max input power at Vacmax, Pin_H | #NAME? | W | [13 empty] | Max input power at Vacmax, Pin_H | #NAME? | W
| RMS MOS current at Vacmin, Irmsp_L | 0.50687 | 0.377 | [22 empty] | Peak-to-reflected voltage ratio at Vacmax, Kv_H | #REF! | [14 empty] | Peak-to-reflected voltage ratio at Vacmax, Kv_H | #REF!
| Short circuit current, Isc | 1.1111 | 1.0667 | [22 empty] | Characteristic functions value at Vacmax, F1_Kv_H | #REF! | [14 empty] | Characteristic functions value at Vacmax, F1_Kv_H | #REF!
| Primary turns, Np | 122 | 138 |  | 122 | 138 | [19 empty] | F2_Kv_H | #REF! | [14 empty] | F2_Kv_H | #REF!
| Diameter of primary copper wire, d_p, (mm) | 0.23 | 0.23 |  | 0.23 | 0.23 | [19 empty] | F3_Kv_H | #REF! | [14 empty] | F3_Kv_H | #REF!
| Auxiliary turns, Na | 30 | 35 |  | 30 | 35
| Diameter of auxiliary copper wire, d_a, (mm) | 0.15 | 0.15 |  | 0.15 | 0.15 | [18 empty] | STEP-4. Operating conditions: | [15 empty] | STEP-4. Operating conditions:
| Required area product, AP_r | 0.021762 | 0.01237 | #REF! | [21 empty] | Cross-over ratio at Vacmin, Dco_L | #VALUE! | [14 empty] | Cross-over ratio at Vacmin, Dco_L | #VALUE!
[26 empty] | Peak MOS current at Vacmin, Ipkp_L |  | A | [13 empty] | Peak MOS current at Vacmin, Ipkp_L | #NAME? | A
[28 empty] | A | [13 empty] | RMS MOS current at Vacmin, Irmsp_L | #NAME? | A
| Bridge Diode |  |  |  | Buck | Buck-Boost
| Average rectified forward current, If_br | 0.50687 | 0.377 |  | 2 | 2
| Maximum repetitive reverse voltage, Vrrm_br | 600 | 600 |  | 600 | 600
| MOSFET Select | [26 empty] | A | [13 empty] | DC MOS current at Vacmin, Idcp_L | #REF! | A
[5 empty] | Buck | Buck-Boost | [21 empty] | A | [13 empty] | RMS diode current at Vacmin, Irmss_L | #REF! | A
| Required MOSFET Rdson, Rdson_r | 1.5617 | 1.6678 |  | 1.1 | 1.2
| Required MOSFET break-down voltage, Vds_br | 449.7199 | 565.6022 |  | 600 | 600 | [18 empty] | STEP-5. Transformer selection | [15 empty] | STEP-5. Transformer selection
[26 empty] | Primary inductance, Lmag | #NAME? | mH | [13 empty] | Primary inductance, Lmag | #NAME? | mH
[28 empty] | A | [13 empty] | Short circuit current, Isc | #NAME? | A
[28 empty] | cm^4 | [13 empty] | Required area product, AP_r | #REF! | cm^4
Catch Diode Selection
[26 empty] | Core size : EE10/11; Bobbin : EE10/11 | [15 empty] | #REF! | #REF!
| Required avg forward current, If_r | 0.50687 | 0.377 |  | 2 | 2 | [19 empty] | Effective core area of the transformer, Ae |  | mm^2 | #REF! | [12 empty] | Effective core area of the transformer, Ae | #REF! | mm^2 | #REF!
| Required peak reverse voltage, Vrrm_r | 487.1966 | 565.6022 |  | 600 | 600 | [19 empty] | Window area of the transformer, Aw | 23.7 | mm^2 | [13 empty] | Window area of the transformer, Aw | #REF! | mm^2
[30 empty] | NT | [11 empty] | Primary turns, Np | #REF! |  |  | NT
[28 empty] | mm | 92 | N2 | [11 empty] | Diameter of primary copper wire, d_p | #NAME? | mm | #NAME? | N2
[30 empty] | N1 | [11 empty] | Auxiliary turns, Na | #NAME? |  |  | N1
| Output Capcitor Selection |  |  |  | Buck | Buck-Boost | [21 empty] | mm | [13 empty] | Diameter of auxiliary copper wire, d_a | 0.10301 | mm
| Minimum capacitance, Comin | 19.2276 | 42.8997 |  | 47 | 100 | [18 empty] | STEP-6. MOSFET selection: | [15 empty] | STEP-6. MOSFET selection:
| Min. Capacitor break down voltage, Vco_r | 71.2607 | 42.4352 |  | 100 | 50 | [21 empty] | ohm | [13 empty] | Required MOSFET Rdson, Rdson_r | #NAME? | ohm
| Dummy Load, (kohm) | 65 | 40 | [24 empty] | V | [13 empty] | Required MOSFET break-down voltage, Vds_br | #REF! | V
[26 empty] | MOSFET: FQPF5N60C, Fairchild | [15 empty] | MOSFET: FQPF5N60C, Fairchild
| Intput Capcitor Selection | [24 empty] | Break-down voltage, Vdss | #REF! | V | Right! | [12 empty] | Break-down voltage, Vdss | #REF! | V | Right!
[26 empty] | Drain-source on resistance, Rdson | #NAME? | ohm | #REF! | [12 empty] | Drain-source on resistance, Rdson | #REF! | ohm | #REF!
| Required input capacitance, Cin_r | 90.2778 | 53.3333 |  | 100 | 100
[5 empty] | 400 | 450 | [18 empty] | STEP-7. Catch diode selection: | [15 empty] | STEP-7. Catch diode selection:
[28 empty] | A | [13 empty] | Required avg forward current, If_r | #REF! | A
[28 empty] | V | [13 empty] | Required peak reverse voltage, Vrrm_r | #REF! | V
Sense Resistor
| LED current sense resistance, Rsen | 0.36 | 0.38 | [22 empty] | Diode: ES2J, multicomp | [15 empty] | Diode: ES2J, multicomp
|  | 1/8W | 1/8W | [22 empty] | Avg forward current, Iav | #REF! | A | Right! | [12 empty] | Avg forward current, Iav | #REF! | A | Right!
[26 empty] | Peak reverse voltage, Vrrm | 600 | V | Right! | [12 empty] | Peak reverse voltage, Vrrm | 600 | V | Right!
[26 empty] | Forward voltage drop, Vf | 1.7 | V | [13 empty] | Forward voltage drop, Vf | 1.7 | V
Vcc Diode
| Required avg forward current, If_r | 81.3 | 78.9 |  | 100 | 100 | [18 empty] | STEP-8. Output capacitor selection: | [15 empty] | STEP-8. Output capacitor selection:
| Required peak reverse voltage, Vrrm_r | 0.5 | 1.5 |  | 0.5 | 1.5 | [21 empty] | uF | [13 empty] | Minimum capacitance, Comin | #REF! | uF
| Vcc Capacitor (uF) | 3.9 | 3.9 |  | 4.7 | 4.7 | [21 empty] | V | [13 empty] | Required minimum capacitor break down voltage, Vco_r | #NAME? | V
| Maximum Vcc Voltage, (V) | 20 | 20 |  | 25 | 25
| Vcc Start-up resistor (kohm) | 509 | 509 |  | 240 | 240
[26 empty] | Output Capacitor: EEUFC2A471, Panasonic | [15 empty] | Output Capacitor: EEUFC2A471, Panasonic
[26 empty] | Selected capacitor break down voltage, Vco | #REF! | V | Right! | [12 empty] | Selected capacitor break down voltage, Vco | #REF! | V | Right!
[26 empty] | Selected output capacitance, Co | #REF! | uF | Right! | [12 empty] | Selected output capacitance, Co | #REF! | uF | Right!
[26 empty] | Amount of selected output capacitor, nc | 1 | [14 empty] | Amount of selected output capacitor, nc | 1
[25 empty] | STEP-9. Input capacitor selection: | [15 empty] | STEP-9. Input capacitor selection:
[28 empty] | nF | #REF! | #REF! | [11 empty] | Required input capacitance, Cin_r | #REF! | nF | #REF! | #REF!
[26 empty] | Selected output capacitance, Cin |  | nF | #NAME? | [12 empty] | Selected output capacitance, Cin | #REF! | nF | #NAME?
[25 empty] | STEP-10. Zener Diode selection: | [15 empty] | STEP-10. Zener Diode selection:
[26 empty] | Zener Diode | #NAME? | V | [13 empty] | Zener Diode | #NAME? | V
[25 empty] | Results | [15 empty] | Results
[28 empty] | A | [13 empty] | Average rectified forward current, If_br | #REF! | A
[28 empty] | V | [13 empty] | Maximum repetitive reverse voltage, Vrrm_br | #REF! | V
[26 empty] | Input Capacitance, Cin | 100 | nF | 2A/600V | [12 empty] | Input Capacitance, Cin | #REF! | nF | #REF!
[26 empty] | Break-down voltage, Vdss |  | V | [13 empty] | Break-down voltage, Vdss | #REF! | V
[26 empty] | Drain-source on resistance, Rdson |  | ohm | [13 empty] | Drain-source on resistance, Rdson | #REF! | ohm
[28 empty] | ohm | W | [12 empty] | LED current sense resistance, Rsen | #NAME? | ohm | W | #NAME?
[26 empty] | Magnetizing Inductance, Lmag |  | mH | [13 empty] | Magnetizing Inductance, Lmag | #NAME? | mH
[26 empty] | Selected number of primary turns, Np | [15 empty] | Selected number of primary turns, Np | #REF!
[26 empty] | Diameter of primary copper wire, d_p |  | mm | [13 empty] | Diameter of primary copper wire, d_p | #NAME? | mm
[26 empty] | Selected number of auxiliary turns, Na | [15 empty] | Selected number of auxiliary turns, Na | #NAME?
[26 empty] | Diameter of auxiliary copper wire, d_a |  | mm | [13 empty] | Diameter of auxiliary copper wire, d_a | 0.10301 | mm
[26 empty] | Average forward current, Iav |  | A | [13 empty] | Average forward current, Iav | #REF! | A
[26 empty] | Peak reverse voltage, Vrrm |  | V | [13 empty] | Peak reverse voltage, Vrrm | 600 | V
[26 empty] | Break down voltage, Vco |  | V | [13 empty] | Break down voltage, Vco | #REF! | V
[26 empty] | Output capacitance, Co |  | uF | [13 empty] | Output capacitance, Co | #REF! | uF
[26 empty] | Amount of output capacitor, nc | 1 | [14 empty] | Amount of output capacitor, nc | 1
[26 empty] | Minimum total resistance of startup resistor, Rst_c | #VALUE! | kohm | [13 empty] | Minimum total resistance of startup resistor, Rst_c | #VALUE! | kohm
[26 empty] | Selected startup resistor, Rst (R1, R2 and R3) | 600 | kohm | #REF! | [12 empty] | Selected startup resistor, Rst (R1, R2 and R3) | 600 | kohm | #REF!
[26 empty] | Typical output OVP threshold, Vo_ovp | 101.3 | V | [13 empty] | Typical output OVP threshold, Vo_ovp | #REF! | V
[26 empty] | Typical VDD OVP threshold, VDD_ovp | 45.6 | V | [13 empty] | Typical VDD OVP threshold, VDD_ovp | #REF! | V
[26 empty] | Maximum resistance of dummy load, Rdum_max | #REF! | kohm | [13 empty] | Maximum resistance of dummy load, Rdum_max | #REF! | kohm
[26 empty] | Selected dummy load, Rdum (R6) |  | kohm | #REF! | [12 empty] | Selected dummy load, Rdum (R6) | #REF! | kohm | #REF!
[26 empty] | Required peak reverse voltage, Varrm_r |  | V | [13 empty] | Required peak reverse voltage, Varrm_r | #REF! | V
[26 empty] | Required average forward current, Iaf_r |  | A | [13 empty] | Required average forward current, Iaf_r | 0.5 | A
[26 empty] | Peak reverse voltage, Varrm | #REF! | V | #REF! | [12 empty] | Peak reverse voltage, Varrm | #REF! | V | #REF!
[26 empty] | Average forward current, Iaavg | 0.5 | A | #REF! | [12 empty] | Average forward current, Iaavg | 0.5 | A | #REF!

## Buck
Single Stage CRM Buck PFC Design Assistant V1.0
For LED Driver Controlled by KP101
1. Typical Application Schematic
|  |  | 90 ∽ 270Vac | #VALUE! | #VALUE!
|  |  | EE10/11 | EFD12 | 26 | #NAME?
#NAME?
2. Design Specification
| AC Input Range : | [5 empty] | 90 | ~ | 265 | V | Transformer Core : |  | EFD15
| Max. Output Voltage : | [5 empty] | 65 | V |  |  | Effective core area(Ae) : |  |  |  | 15 | mm2
| Max. Output Current : | [5 empty] | 250 | mA |  |  | Max. Flux Density : |  |  |  | 0.3 | Tesla
| Vdd Supply Voltage : | [5 empty] | 16 | V |  |  | Switching Freq. : |  |  |  | 45 | kHz
| Estimated Efficiency : | [5 empty] | 90 | %
3. Design Results:
No. |  | Sym. |  |  |  | Description | [5 empty] | QTY |  | Remark
1 |  | U1 |  |  |  | PWM Controller KP101 SOT-23-6 | [5 empty] | 1
2 |  | L1 |  |  |  | EFD15 N1:N2 = 30:92T 0.493mH 0.23mm | [5 empty] | 1 |  | Ton = 11.35us
3 |  | BD1 |  |  |  | BRIDGE DIODE 2A 600V | [5 empty] | 1
4 |  | Q1 |  |  |  | MOSFET 1.1ohm 600V | [5 empty] | 1
5 |  | D1 |  |  |  | SUPER FAST DIODE 2A 600V | [5 empty] | 1
6 |  | D2 |  |  |  | SUPER FAST DIODE 0.5A 100V | [5 empty] | 1
7 |  | C1 |  |  |  | CBB Cap 100nF 400V | [5 empty] | 1
8 |  | C2 |  |  |  | E.Cap 4.7uF V | [5 empty] | 1
9 |  | C3 |  |  |  | Cap 68nF 50V | [5 empty] | 1
10 |  | C4 |  |  |  | Cap 100pF 50V | [5 empty] | 1
11 |  | C5 |  |  |  | M.Cap 1pF 500V | [5 empty] | 1
12 |  | C6 |  |  |  | E.Cap 47uF 100V | [5 empty] | 1
13 |  | R1 |  |  |  | RESISTOR 480kohm 1/4W | [5 empty] | 1
14 |  | R2 |  |  |  | RESISTOR 0.36ohm 1/8W | [5 empty] | 1
16 |  | R3, 4 |  |  |  | RESISTOR 100 ohm 1/8W | [5 empty] | 2
17 |  | R5 |  |  |  | RESISTOR 1M 1/8W | [5 empty] | 1
18 |  | R6 |  |  |  | RESISTOR 65kohm 1/4W | [5 empty] | 1
Note on H36: aaron: Recommend: 1p ~10pF.
Note on H41: aaron: Recommend: 1M ~2MΩ.

## Buck-Boost
Single Stage CRM Buck PFC Design Assistant V1.0
For LED Driver Controlled by KP101 Buck-Boost Application
1. Typical Application Schematic
2. Design Specification
| AC Input Range : |  |  | 90 | ~ | 305 | V | Transformer Core : |  | EPC13
| Max. Output Voltage : |  |  | 40 | V |  |  | Effective core area(Ae) : |  |  |  | 12.5 | mm2
| Max. Output Current : |  |  | 240 | mA |  |  | Max. Flux Density : |  |  |  | 0.28 | Tesla
| Vdd Supply Voltage : |  |  | 10 | V |  |  | Switching Freq. : |  |  |  | 48 | kHz
| Estimated Efficiency : |  |  | 90 | %
3. Design Results:
No. |  | Sym. | Description | [5 empty] | QTY |  | Remark
1 |  | IC1 | PWM Controller KP101 SOT-23-6 | [5 empty] | 1
2 |  | L1 | EPC13 N1:N2 = 35:103T 0.452mH 0.23mm | [5 empty] | 1 |  | Ton = 4.98us
3 |  | BD1 | BRIDGE DIODE 2A 600V | [5 empty] | 1
4 |  | Q1 | MOSFET 1.2ohm 600V | [5 empty] | 1
5 |  | D1 | SUPER FAST DIODE 2A 600V | [5 empty] | 1
6 |  | D2 | SUPER FAST DIODE 1.5A 100V | [5 empty] | 1
7 |  | C1 | CBB Cap 100nF 450V | [5 empty] | 1
8 |  | C2 | E.Cap 4.7uF V | [5 empty] | 1
9 |  | C3 | Cap 68nF 50V | [5 empty] | 1
10 |  | C4 | Cap 100pF 50V | [5 empty] | 1
11 |  | C5 | M.Cap 1pF 500V | [5 empty] | 1
12 |  | C6 | E.Cap 100uF 50V | [5 empty] | 1
13 |  | R1, 2 | RESISTOR 240kohm 1/4W | [5 empty] | 2
14 |  | R3 | RESISTOR 0.38ohm 1/8W | [5 empty] | 1
15 |  | R4, 7 | RESISTOR 100 ohm 1/8W | [5 empty] | 2
16 |  | R5 | RESISTOR 1M 1/8W | [5 empty] | 1
17 |  | R6 | RESISTOR 40kohm 1/4W | [5 empty] | 1
Note on H36: aaron: Recommend: 1p ~10pF.
Note on H41: aaron: Recommend: 1M ~2MΩ.

## Core (hidden)
CORE參數對照表 |  | CORE參數對照表
TYPE |  | TYPE | MATE- RIAL | Dimensions (mm) | Ap | Ae | Aw | AL | Le | Ve | Wt | PCL 100kHz 200mT | Pt 100 kHz | 幅寬 mm | 窗口面积 mm2 | PIN | 形狀 | TYPE
|  |  |  | A * B * C | ( cm4 ) | ( mm2 ) | ( mm2 ) | (nH/N2) | ( mm ) | ( mm3 ) | ( g ) | @100℃(W) | (W) |  | 可配合BOBBIN
EE05 | 1 | EE05 | PC40 | 5.25*2.65*1.95 | 0.001315 | 2.63 | 5 | 285 | 12.6 | 33.1 | 0.16 | 0.02 | 1.1 | 2.7 |  | 6-8 | H | EE Type
EE6.3 | 2 | EE6.3 | PC40 | 6.1*2.85*7.95 | 0.0014763 | 3.31 | 4.46 | 405 | 12.2 | 40.4 | 0.24 | 0.02 |  | 2.7 |  | 6 | H | EE Type
ER9.5 | 3 | ER9.5 | PC44 | 9.5*2.45*5.9 | 0.0054208 | 8.47 | 6.4 | 610 | 14.2 | 120 | 0.6 |  | 3.9 | 2.2 |  | 8 | V | ER Type
ER9.35 | 4 | ER9.35 | TP4 | 9.35*2.35*4.6 | 0.0059368 | 8.2 | 7.24 | 1270 | 13.7 | 111.8 | 0.55 | [6 empty] | ER Type
EPC10 | 5 | EPC10 | PC44 | 10.2*4.05*3.4 | 0.0072209 | 9.39 | 7.69 | 1000 | 17.8 | 167 | 1.1 | 0.072 | 5.4 |  |  |  |  | EPC Type
ER11.5 | 6 | ER11.5 | PC44 | 10.83*2.45*4 | 0.0078039 | 11.7 | 6.67 | 870 | 14 | 174 | 0.85 |  | 5 | 1.9 |  | 10 | V | ER Type
EFD10 | 7 | EFD10 | 3F3 | 10.5*5.2*2.7 | 0.008352 | 7.2 | 11.6 | 500 | 23.7 | 171 | 0.45 | 0.02 |  | 6 |  | 8 | H | EFD Type
EE8 | 8 | EE8 | PC40 | 8.3*4.0*3.6 | 0.009135 | 7 | 13.05 | 590 | 19.47 | 139 | 0.7 | 0.06 | 1.9 | 4.78 | 5.3 | 6 | H | EE Type
EP7 | 9 | EP7 | 3C85 | 9.4*3.75*6.5 | 0.010165 | 10.7 | 9.5 | 1120 | 15.5 | 165 | 0.8 | 0.03 |  | 3.4 |  | 6 | H | EP Type
EFD12 | 10 | EFD12 | 3F3 | 12.5*6.2*3.5 | 0.018673 | 11.4 | 16.38 | 700 | 28.5 | 325 | 0.9 | 0.04 |  | 7.6 |  | 8 | H | EFD Type
ER14.5 | 11 | ER14.5 | PC44 | 14.5*2.95*6.7 | 0.019008 | 17.6 | 10.8 | 1280 | 19 | 333 | 1 |  | 9.5 | 1.9 |  | 10 |  | ER Type
RM4 | 12 | RM4 | PC40 | 10.8*5.2*4.45 | 0.02184 | 14 | 15.6 | 680 | 22.7 | 318 | 1.7 | 0.08 | 6.9 | 5.9 |  | 4-6 | V | RM Type
EI12.5 | 13 | EI12.5 | PC40 | 12.4*7.4*4.85 | 0.023501 | 14.4 | 16.32 | 1200 | 21.3 | 308 | 1.9 | 0.12 |  | 3.5 | 8.6 | 10 | V | EI Type
UU8.5 | 14 | UU8.5 | PC40 | 8.5*6.35*3.45 | 0.025065 | 7.76 | 32.3 | 560 | 31.4 | 243 | 1.2 | 0.12 | [5 empty] | UU Type
EP10 | 15 | EP10 | 3C85 | 11.5*5.1*7.6 | 0.025504 | 11.3 | 22.57 | 1025 | 19.3 | 215 | 1.1 | 0.04 |  | 5.6 |  | 8 | H | EP Type
UU9.8 | 16 | UU9.8 | PC40 | 9.8*7.1*2.7 | 0.026928 | 7.65 | 35.2 | 500 | 34.1 | 261 | 1.3 | 0.14 | [5 empty] | UU Type
EE10/11 | 17 | EE10/11 | PC40 | 10.2*5.5*4.75 | 0.028677 | 12.1 | 23.7 | 850 | 26.6 | 302 | 1.5 | 0.16 |  | 6.6 | 12.2 | 8 | V | EE Type
EPC13 | 18 | EPC13 | PC44 | 13.3*6.6*4.6 | 0.02875 | 12.5 | 23 | 870 | 30.6 | 382 | 2.1 | 0.14 | 8.6 | 6.9 |  | 10 | H | EPC Type
EF12.6 | 19 | EF12.6 | PC40 | 12.7*6.4*3.6 | 0.03107 | 13 | 23.9 | 810 | 29.6 | 385 | 2 | 0.17 |  | 3.5 |  | 10 | V | EF Type
UU10.1 | 20 | UU10.1 | HS72 | 10.1*7.5*2.9 | 0.03268 | 8.6 | 38 | 515 | 35.7 | 300 | 1.5 | 0.15 | [5 empty] | UU Type
PTS14/8 | 21 | PTS14/8 | 3C85 | 14.05*4.15*9.4 | 0.0374 | 17 | 22 | 1750 | 22.5 | 495 | 2.5 |  |  | 4 |  | 12 | V | PTS Type
EPC17 | 22 | EPC17 | PC44 | 17.6*8.55*6 | 0.042636 | 22.8 | 18.7 | 1150 | 40.2 | 917 | 4.5 | 0.35 | 20 |  |  |  |  | EPC Type
RM5 | 23 | RM5 | PC40 | 14.3*5.2*6.6 | 0.043134 | 23.7 | 18.2 | 1250 | 22.4 | 530 | 3 | 0.18 | 16 | 4.9 |  | 4-6 | V | RM Type
EP13 | 24 | EP13 | 3C85 | 12.8*6.5*9.0 | 0.04563 | 19.5 | 23.4 | 1475 | 24.2 | 472 | 2.4 | 0.09 |  | 7.6 |  | 10 | H | EP Type
EFD15 | 25 | EFD15 | 3F3 | 15*7.5*4.65 | 0.047025 | 15 | 31.35 | 780 | 34 | 510 | 1.4 | 0.06 |  | 8.8 |  | 8 | H | EFD Type
EE13 | 26 | EE13 | PC40 | 13.0*6.0*6.15 | 0.057029 | 17.1 | 33.35 | 1130 | 30.2 | 517 | 2.7 | 0.235 |  | 7.4 | 22.2 | 10 | V | EE Type
ER25/51 | 27 | ER25/51 | TP4 | 25.4*25.4*18 | 0.073445 | 52.8 | 13.91 | 4330 | 27.2 | 1435.7 | 8.1 | [6 empty] | ER Type
UU10.5 | 28 | UU10.5 | HS72 | 10.5*7.9*5 | 0.073656 | 12.4 | 59.4 | 720 | 40.5 | 505 | 2.5 | 0.26 | [5 empty] | UU Type
EE16 | 29 | EE16 | PC40 | 16*7.2*4.8 | 0.076512 | 19.2 | 39.85 | 1140 | 35 | 672 | 3.3 | 0.31 |  | 8.5 | 27.3 | 6-10 | V H | EE Type
EF16 | 30 | EF16 | PC40 | 16.1*8.05*4.5 | 0.080038 | 20.1 | 39.82 | 1100 | 37.6 | 754 | 3.9 | 0.32 | [5 empty] | EF Type
EI16 | 31 | EI16 | PC40 | 16.0*12.2*4.8 | 0.083893 | 19.8 | 42.37 | 1100 | 34.6 | 670 | 3.3 | 0.31 |  | 8.5 | 27.3 | 6-10 | H V | EI Type
RM6 | 32 | RM6 | PC40 | 17.6*6.2*8 | 0.09516 | 36.6 | 26 | 1600 | 28.6 | 1050 | 5.5 | 0.41 | 27 | 6.4 |  | 4-6 | V | RM Type
EF20 | 33 | EF20 | PC40 | 20*9.9*5.65 | 0.1013 | 33.5 | 30.24 | 1570 | 44.9 | 1500 | 7.4 | 0.69 |  | 12.2 |  |  |  | EF Type
PTS18/11 | 34 | PTS18/11 | 3C85 | 18*5.3*11.94 | 0.10665 | 37.2 | 28.67 | 2400 | 28.7 | 1070 | 5 | 0.19(25kHZ) |  | 6 |  | 6 | V | PTS Type
EE19/16 | 35 | EE19/16 | PC40 | 19.29*8.1*4.75 | 0.11906 | 22.4 | 53.15 | 1350 | 39.1 | 882 | 4.8 | 0.41 |  | 9 | 33.1 | 6-8 | V H | EE Type
EP17 | 36 | EP17 | 3C85 | 18.0*8.4*11.0 | 0.12098 | 33.7 | 35.9 | 2230 | 29.5 | 999 | 5 | 0.16 |  | 9.45 |  | 8 | H | EP Type
EPC19 | 37 | EPC19 | PC44 | 19.1*9.75*6 | 0.12349 | 22.7 | 54.4 | 940 | 46.1 | 10473 | 5.3 | 0.4 | 27 | 12.2 |  | 12 | H | EPC Type
EE19 | 38 | EE19 | PC40 | 19.1*7.95*5.0 | 0.12429 | 23 | 54.04 | 1250 | 39.4 | 900 | 4.8 | 0.42 |  | 9 | 33.1 | 6-8 | V H | EE Type
EI19 | 39 | EI19 | PC40 | 20*13.55*5.0 | 0.13046 | 24 | 54.36 | 1400 | 39.6 | 950 | 5.1 | 0.42 |  | 9.05 | 36.4 | 6-8 | H V | EI Type
UU13.5 | 40 | UU13.5 | PC40 | 13.5*9.9*5 | 0.13741 | 16.3 | 84.3 | 800 | 49.2 | 803 | 4 | 0.4 | [5 empty] | UU Type
EFD20 | 41 | EFD20 | 3C85 | 20*10*6.65 | 0.155 | 31 | 50 | 1300 | 47 | 1460 | 3.5 | 0.27 |  | 13.5 |  | 8 | H | EFD Type
EE20/20/5 | 42 | EE20/20/5 | PC40 | 20.15*10*5.1 | 0.15717 | 31 | 50.7 | 1460 | 43 | 1340 | 7.5 | 0.51 | [5 empty] | EE Type
EE22 | 43 | EE22 | PC40 | 22*9.35*5.75 | 0.15904 | 41 | 38.79 | 2180 | 39.4 | 1610 | 8.8 | 0.61 |  | 8.45 | 20 | 8 | V | EE Type
EI22 | 44 | EI22 | PC40 | 22.0*14.55*5.75 | 0.16061 | 42 | 38.24 | 2400 | 39.3 | 1630 | 9.8 | 0.6 |  | 8.45 | 20 | 1900-01-07 | V | EI Type
PTS23/11 | 45 | PTS23/11 | 3C85 | 22.9*5.5*15.2 | 0.18464 | 57.2 | 32.28 | 3560 | 31.6 | 1810 | 9 | 0.28(25kHZ) |  | 5.16 |  | 10 | V | PTS Type
LP23/8 | 46 | LP23/8 | PC44 | 16.5*11.7*8.7 | 0.1853 | 31.3 | 59.2 | 1600 | 44.1 | 1377 | 9.6 | 0.52 | 50 |  |  |  |  | LP Type
EI22/19/6 | 47 | EI22/19/6 | PC40 | 22.0*14.7*5.75 | 0.19795 | 37 | 53.5 | 2000 | 41.8 | 1550 | 8.5 | 0.64 |  | 8.45 | 31.5 | 1900-01-07 | V | EI Type
ER1916 | 48 | ER1916 | TP4 | 19.2*16*5.6 | 0.19852 | 28.8 | 68.93 | 1140 | 54.9 | 1584.1 | 1.8 | [6 empty] | ER Type
UU15.22 | 49 | UU15.22 | PC40 | 15.2*11.2*6.7 | 0.20442 | 32.5 | 62.9 | 1400 | 50.5 | 1640 | 8.5 | 0.83 | [5 empty] | UU Type
EPC25B | 50 | EPC25B | PC44 | 25.1*11.43*6.5 | 0.20679 | 33.3 | 62.1 | 1560 | 46.2 | 1539 | 11 | 0.65 | 45 | 14.7 |  | 12 | H | EPC Type
UU15.7 | 51 | UU15.7 | HS72 | 15.7*9.7*6 | 0.20832 | 24.8 | 84 | 1100 | 50 | 1310 | 6.7 | 0.66 | [5 empty] | UU Type
UU15.23 | 52 | UU15.23 | PC40 | 15.2*11.4*6.4 | 0.21213 | 31.9 | 66.5 | 1360 | 51.7 | 1650 | 8.6 | 0.83 | [5 empty] | UU Type
EF25 | 53 | EF25 | PC40 | 25.05*12.55*7.2 | 0.2376 | 51.8 | 45.8687 | 2000 | 57.8 | 2990 | 15 | 1.4 | [5 empty] | EF Type
ETD19 | 54 | ETD19 | PC40 | 19.6*13.65*7.4 | 0.29117 | 41.3 | 70.5 | 1720 | 54.6 | 22530 | 13.3 | 1.1 | 79 |  | 37.4 |  |  | ETD Type
PQ20/16 | 55 | PQ20/16 | PC44 | 20.5*8.1*14 | 0.2914 | 62 | 47 | 3880 | 37.4 | 2310 | 13 | 0.84 | 70 | 11.9 |  | 12 | V | PQ Type
EE25/19 | 56 | EE25/19 | PC40 | 25.4*9.46*6.29 | 0.3128 | 40 | 78.2 | 2000 | 48.7 | 1940 | 9.1 | 0.9 |  | 9.8 | 42.5 |  |  | EE Type
RM8 | 57 | RM8 | PC40 | 22.75*8.2*10.8 | 0.31296 | 64 | 48.9 | 1950 | 38 | 2430 | 13 | 0.97 | 67 | 9.15 |  | 8-12 | V | RM Type
EI25 | 58 | EI25 | PC40 | 25.3*15.55*6.75 | 0.31648 | 41 | 77.19 | 2140 | 47 | 1927 | 9.8 | 0.79 |  | 9.8 | 42.5 | 8 | V | EI Type
EE25.4 | 59 | EE25.4 | PC40 | 25.4*9.66*6.35 | 0.31728 | 40.3 | 78.73 | 2000 | 48.7 | 1963 | 10 | 0.9 | [5 empty] | EE Type
ER25.5 | 60 | ER25.5 | PC40 | 25.5*9.3*7.5 | 0.35571 | 44.8 | 79.4 | 1920 | 48.2 | 2160 | 11 | 0.98 | 87 | 10.6 | 48.4 | 10 | V | ER Type
PTS23/18 | 61 | PTS23/18 | 3C85 | 22.9*9*15.2 | 0.36099 | 58.3 | 61.92 | 2900 | 45.1 | 2630 | 13 | 0.41(25kHZ) |  | 11.76 |  | 10 | V | PTS Type
EFD25 | 62 | EFD25 | 3C90 | 25*12.5*9.1 | 0.39376 | 58 | 67.89 | 2200 | 57 | 3300 | 8 | 0.38 |  | 16.4 | 43.4 | 10 | H | EFD Type
EPC25 | 63 | EPC25 | PC44 | 25.1*12.5*8 | 0.39672 | 46.4 | 85.5 | 1560 | 59.2 | 2748 | 13 | 1.11 | 63 | 14.7 |  | 12 | H | EPC Type
PQ20/20 | 64 | PQ20/20 | PC44 | 20.5*10.1*14 | 0.40796 | 62 | 65.8 | 3150 | 45.7 | 2790 | 15 | 1.02 | 92 | 11.9 |  | 12 | V | PQ Type
EE2329S | 65 | EE2329S | PC40 | 23*14.7*6 | 0.43676 | 35.8 | 122 | 1250 | 64.9 | 2320 | 12 | 1.16 | [5 empty] | EE Type
EP20 | 66 | EP20 | 3C85 | 24*10.7*15 | 0.49974 | 78.7 | 63.5 | 3950 | 41.1 | 3230 | 16 | 0.5 |  | 12.45 |  | 10 | H | EP Type
UU17 | 67 | UU17 | PC40 | 17*16.6*6 | 0.51648 | 26.9 | 192 | 750 | 78.3 | 2100 | 10 | 1.06 | [5 empty] | UU Type
UU21 | 68 | UU21 | PC40 | 20.8*15.8*7.7 | 0.5616 | 54 | 104 | 1760 | 68.6 | 3700 | 19 | 1.86 | [5 empty] | UU Type
LP22/13 | 69 | LP22/13 | PC44 | 25*11.2*12.9 | 0.57172 | 67.9 | 84.2 | 3310 | 49 | 3277 | 21 | 1.3 | 121 |  |  |  |  | LP Type
ETD24 | 70 | ETD24 | PC40 | 24.4*14.45*8.5 | 0.57426 | 56.3 | 102 | 2125 | 61.9 | 3480 | 19.5 | 1.6 | 115 |  | 44.7 |  |  | ETD Type
EPC27 | 71 | EPC27 | PC44 | 27.1*16*8 | 0.58968 | 54.6 | 108 | 1540 | 73.1 | 3995 | 18 | 1.56 | 80 | 20.5 |  | 12 | H | EPC Type
EI28 | 72 | EI28 | PC40 | 28.0*16.75*10.6 | 0.60054 | 86 | 69.83 | 4300 | 48.2 | 4145 | 22 | 1.65 |  | 9.6 | 39.4 | 10 | V | EI Type
EFD30 | 73 | EFD30 | 3C90 | 30*15*9.1 | 0.60278 | 69 | 87.36 | 2100 | 68 | 4700 | 12 | 0.54 |  | 20.1 |  | 12 | H | EFD Type
EF32 | 74 | EF32 | PC40 | 32.1*16.1*9.15 | 0.65146 | 83.2 | 78.3 | 2590 | 74.3 | 6180 | 32 | 2.9 | [5 empty] | EF Type
RM10 | 75 | RM10 | PC40 | 27.85*9.3*13.25 | 0.6811 | 98 | 69.5 | 3630 | 44 | 4310 | 23 | 1.8 | 130 | 10.75 |  | 10-12 | V | RM Type
UU19.7 | 76 | UU19.7 | HS72 | 19.7*17.7*6 | 0.6948 | 36 | 193 | 980 | 83.2 | 2990 | 15 | 1.5 | [5 empty] | UU Type
EPC30 | 77 | EPC30 | PC44 | 30.1*17.5*8 | 0.7137 | 61 | 117 | 1570 | 81.6 | 5035 | 23 | 2.03 | 85 | 22.8 |  | 12 | H | EPC Type
PQ26/20 | 78 | PQ26/20 | PC44 | 26.5*10.1*19 | 0.71876 | 119 | 60.4 | 6170 | 46.3 | 5490 | 31 | 1.94 | 170 | 13.6 |  | 12 | V | PQ Type
EE30/30/7 | 79 | EE30/30/7 | PC40 | 30.1*15*7.05 | 0.74547 | 59.7 | 124.87 | 2100 | 66.9 | 4000 | 22 | 1.51 | [5 empty] | EE Type
UU25 | 80 | UU25 | PC40 | 25*14*7 | 0.7546 | 49 | 154 | 1530 | 72 | 3520 | 18 | 1.77 | [5 empty] | UU Type
EE30 | 81 | EE30 | PC40 | 30*13.15*10.7 | 0.79951 | 109 | 73.35 | 4690 | 57.7 | 6310 | 32 | 2.9 |  | 13.7 | 43.2 | 10-12 | V | EE Type
EI30 | 82 | EI30 | PC40 | 20.0*21.25*10.7 | 0.82073 | 111 | 73.94 | 4690 | 58 | 6440 | 34 | 3.1 |  | 13.7 | 44.5 | 10-12 | V | EI Type
EE2825 | 83 | EE2825 | PC40 | 28*12.75*10.6 | 0.85249 | 86.9 | 98.1 | 3300 | 57.7 | 5010 | 26 | 2.51 |  | 9.6 | 39.4 | 10 | V | EE Type
ER30/16 | 84 | ER30/16 | TP4 | 30*8*20 | 0.85462 | 107.5 | 79.5 | 4500 | 45 | 4833.8 | 25 | [6 empty] | ER Type
LP32/13 | 85 | LP32/13 | PC44 | 25*15.9*12.9 | 0.88086 | 70.3 | 125.3 | 2630 | 64 | 4498 | 30 | 1.7 | 164 |  |  |  |  | LP Type
PTS30/19 | 86 | PTS30/19 | 3C85 | 30*9.4*20.2 | 0.88645 | 111 | 79.86 | 4140 | 50.2 | 5570 | 30 | 0.87(25kHZ) |  | 10.8 |  | 10 | V | PTS Type
ER28/28 | 87 | ER28/28 | PC40 | 28.55*14*11.4 | 0.93594 | 82.1 | 114 | 2870 | 64 | 5257 | 28 | 2.3 | 203 | 16.1 | 71.8 | 10--12 | H V | ER Type
PQ26/25 | 88 | PQ26/25 | PC44 | 26.5*12.37*19 | 0.9971 | 118 | 84.5 | 5250 | 55.5 | 6530 | 36 | 2.32 | 195 | 13.6 |  | 12 | V | PQ Type
ETD29 | 89 | ETD29 | PC40 | 29.8*15.8*9.5 | 1.0687 | 73.6 | 145.2 | 2500 | 70.6 | 5193 | 28 | 2.4 | 170 | 19.7 |  | 13 | H | ETD Type
ER28/34 | 90 | ER28/34 | PC40 | 28.55*16.9*11.4 | 1.2047 | 81.4 | 148 | 2520 | 75.5 | 6143 | 33 | 2.7 | 228 | 21.8 | 96.3 | 10--12 | H V | ER Type
EI35 | 91 | EI35 | PC40 | 35.0*24.25*10.0 | 1.3343 | 101.4 | 131.59 | 3800 | 67.1 | 6804 | 36 | 2.85 |  | 15.7 | 88.7 | 1900-01-11 | V | EI Type
EE3528 | 92 | EE3528 | PC40 | 34.6*14.3*9.3 | 1.3398 | 84.8 | 158 | 2600 | 69.7 | 5910 | 29 | 2.96 |  | 15.7 | 88.7 | 12 | V | EE Type
ER30/35 | 93 | ER30/35 | TP4 | 30*17.5*11.2 | 1.3569 | 85.5 | 158.7 | 2160 | 75.4 | 6673 | 32 | [6 empty] | ER Type
PQ32/20 | 94 | PQ32/20 | PC44 | 32*10.27*22 | 1.3736 | 170 | 80.8 | 7310 | 55.5 | 9420 | 42 | 2.92 | 232 |  |  |  |  | PQ Type
EC35 | 95 | EC35 | 3C85 | 35.3*17.3*9.5 | 1.3741 | 84.3 | 163 | 2100 | 77.4 | 6530 | 38 |  |  | 21.5 |  | 8 | H | EC Type
RM12 | 96 | RM12 | PC40 | 36.75*11.7*16 | 1.54 | 140 | 110 | 4150 | 56.9 | 7960 | 42 | 3.3 | 344 | 14.8 |  | 11-12 | V | RM Type
EI33/29/13 | 97 | EI33/29/13 | PC40 | 33.0*23.75*12.7 | 1.5854 | 118.5 | 133.79 | 4400 | 67.5 | 8002 | 41 | 3.5 |  | 16.6 | 88.8 | 12 | V | EI Type
ER35/34 | 98 | ER35/34 | TP4 | 35*16.8*11.3 | 1.6178 | 107 | 151.2 | 3000 | 72.8 | 7790 | 51 |  |  | 26.4 | 152.7 | 12 | V | ER Type
EI3530 | 99 | EI3530 | PC40 | 35.0*24.2*12 | 1.6592 | 122 | 136 | 3950 | 68 | 8350 | 43 | 4.2 | [5 empty] | EI Type
ETD34 | 100 | ETD34 | PC40 | 34.2*17.3*10.88 | 1.8255 | 97.1 | 188 | 2780 | 78.6 | 7640 | 40 | 3.55 | 271 | 21.5 |  | 14 | H | ETD Type
EE50.3 | 101 | EE50.3 | PC40 | 50.3*25.6*6.1 | 1.8447 | 120.85 | 152.64 | 2900 | 104.9 | 12676 | 68 | 5.83 |  | 28.25 | 96.05 | 12 | H | EE Type
EE40 | 102 | EE40 | PC40 | 40*17*10.7 | 2.2 | 127 | 173.23 | 4150 | 77 | 9810 | 50 | 4.2 |  | 17.3 | 108 | 12 | V | EE Type
EI40 | 103 | EI40 | PC40 | 40.0*27.25*11.65 | 2.3301 | 148 | 157.44 | 4860 | 77 | 11300 | 60 | 4.8 |  | 17.3 | 108 | 1900-01-11 | V | EI Type
ER35/41 | 104 | ER35/41 | PC40 | 35*20.7*11.3 | 2.3326 | 107 | 218 | 2770 | 90.8 | 9682 | 52 | 4.2 | 325 | 26.1 | 154.4 | 12--16 | V | ER Type
PQ32/30 | 105 | PQ32/30 | PC44 | 32*15.17*22 | 2.4086 | 161 | 149.6 | 5140 | 74.6 | 11970 | 55 | 3.92 | 331 | 18.5 |  | 12 | V | PQ Type
EC41 | 106 | EC41 | 3C85 | 41.6*19.5*11.6 | 2.5894 | 121 | 214 | 2700 | 89.3 | 10800 | 60 |  |  | 24.5 |  | 8 | H | EC Type
ER39/36 | 107 | ER39/36 | B1 | 39.1*17.8*12.5 | 2.7713 | 125 | 221.7 | 3850 | 84 | 10530 | 56 |  |  | 28.2 |  | 12 | V | ER Type
EE4133 | 108 | EE4133 | PC40 | 41.5*17*12.7 | 2.826 | 157 | 180 | 4200 | 79 | 12470 | 64 | 6.25 | [5 empty] | EE Type
RM14 | 109 | RM14 | PC40 | 41.6*14.4*18.7 | 2.914 | 188 | 155 | 4600 | 69 | 13000 | 70 | 4.75 | 376 | 18.8 |  | 10-12 | V | RM Type
EE62.3/62/6 | 110 | EE62.3/62/6 | PC40 | 62.3*31*6.1 | 3.033 | 153.01 | 198.22 | 3100 | 125.74 | 19240 | 102 | 8.85 |  | 33.85 | 115.09 | 12 | H | EE Type
ER54/36 | 111 | ER54/36 | 3C85 | 53.5*18.3*17.95 | 3.15 | 250 | 126 | 6100 | 91.8 | 23000 | 61 | 3.8 |  | 31 |  | 18 | V | ER Type
ETD39 | 112 | ETD39 | PC40 | 39.1*19.8*12.58 | 3.2125 | 125 | 257 | 3150 | 92.1 | 11500 | 60 | 5.3 | 382 | 26 |  | 16 | H | ETD Type
ER39/42 | 113 | ER39/42 | B1 | 39.1*21.1*12.5 | 3.4975 | 125 | 279.8 | 3200 | 96 | 12000 | 57.1 |  |  | 28.4 |  | 16 | V | ER Type
ER40/45 | 114 | ER40/45 | PC40 | 40*22.4*13.3 | 3.7101 | 149 | 249 | 3620 | 98 | 14587 | 78 | 6.3 | 421 | 27.8 | 178.8 | 16 | V | ER Type
PQ35/35 | 115 | PQ35/35 | PC44 | 35.1*17.37*26 | 4.3238 | 196 | 220.6 | 4860 | 87.9 | 19260 | 73 | 5.27 | 452 |  |  |  |  | PQ Type
ER42/15 | 116 | ER42/15 | PC40 | 42*22.4*15.5 | 4.3262 | 194 | 223 | 4690 | 98.8 | 19163 | 102 | 8.6 | 433 | 27.8 | 153.3 | 16 | V | ER Type
EE47/39 | 117 | EE47/39 | PC40 | 47.12*19.63*15.62 | 4.7529 | 242 | 196.4 | 6660 | 90.6 | 21930 | 108 | 9.7 | [5 empty] | EE Type
EE42/21/15 | 118 | EE42/21/15 | PC40 | 42*21.2*15 | 4.9484 | 178 | 278 | 3800 | 97.9 | 19510 | 88 | 8.8 | [5 empty] | EE Type
ETD44 | 119 | ETD44 | PC40 | 44*22.3*14.9 | 5.3375 | 175 | 305 | 4000 | 103 | 18000 | 94 | 8.3 | 523 | 30 |  | 18 | H | ETD Type
ER42/20 | 120 | ER42/20 | PC40 | 42.15*21.2*19.6 | 5.496 | 240 | 229 | 5340 | 98.6 | 23635 | 116 | 10.7 | 509 | 27.3 | 159.7 | 16 | H | ER Type
EI50 | 121 | EI50 | PC40 | 50.0*33.35*14.6 | 5.5218 | 230 | 240.08 | 6110 | 94 | 21600 | 115 | 9.2 |  | 21.3 | 170 | 12 | V | EI Type
EC52 | 122 | EC52 | 3C85 | 52.2*24.2*13.4 | 5.598 | 180 | 311 | 3600 | 105 | 18800 | 112 |  |  | 28.3 |  | 12 | H | EC Type
EE50 | 123 | EE50 | PC40 | 50*21.3*14.6 | 5.7343 | 226 | 253.73 | 6110 | 95.8 | 21600 | 116 | 9.4 |  | 21.3 | 170 | 12 | V | EE Type
EE42/21/20 | 124 | EE42/21/20 | PC40 | 42*21.2*20 | 6.4625 | 235 | 275 | 5000 | 97.8 | 23000 | 116 | 11.6 | [5 empty] | EE Type
PQ40/40 | 125 | PQ40/40 | PC44 | 40.5*19.87*28 | 6.5526 | 201 | 326 | 4300 | 101.9 | 20450 | 95 | 6.56 | 596 |  |  |  |  | PQ Type
ETD49 | 126 | ETD49 | PC40 | 48.7*24.7*16.4 | 7.9875 | 213 | 375 | 4440 | 114 | 24200 | 124 | 11.2 | 682 |  |  |  |  | ETD Type
ER49/54 | 127 | ER49/54 | N27 | 49*27*17.2 | 9.0153 | 243 | 371 | 3500 | 118 | 28700 | 146 |  |  |  | 167.8 |  |  | ER Type
EE57/47 | 128 | EE57/47 | PC40 | 56.57*23.6*18.8 | 9.7132 | 344 | 282.36 | 8530 | 102 | 35100 | 190 | 8.5 | [5 empty] | EE Type
EI60 | 129 | EI60 | PC40 | 60.0*35.85*15.6 | 9.8024 | 247 | 396.86 | 5670 | 109 | 27100 | 139 | 1.25 |  | 23.8 | 294 | 1900-01-11 | V | EI Type
EE60 | 130 | EE60 | PC40 | 60*22.3*15.6 | 9.8558 | 247 | 399.02 | 5670 | 110 | 27100 | 135 | 12.5 |  | 23.8 | 294 | 12 | V | EE Type
ETD54 | 131 | ETD54 | N27 | 54.5*27.8*19.3 | 11.536 | 280 | 412 | 4200 | 127 | 35600 | 180 | 26 | [5 empty] | ETD Type
EE55/55/21 | 132 | EE55/55/21 | PC40 | 55.15*27.5*20.7 | 13.6764 | 354 | 386.34 | 7100 | 123 | 43700 | 234 | 11.0(150MT) | [5 empty] | EE Type
PQ50/50 | 133 | PQ50/50 | PC44 | 50*24.97*32 | 14.2024 | 328 | 433 | 6720 | 113 | 37238 | 195 | 6.4 | 1045 |  |  |  |  | PQ Type
ETD59 | 134 | ETD59 | N27 | 59.8*31.2*22.1 | 17.4064 | 368 | 473 | 5000 | 139 | 51200 | 260 | [6 empty] | ETD Type
EC70 | 135 | EC70 | 3C85 | 71.7*34.5*16.4 | 17.8281 | 279 | 639 | 3900 | 144 | 40100 | 254 |  |  | 41.4 |  | 12/34 | H | EC Type
EE65/32/27 | 136 | EE65/32/27 | PC40 | 65.15*32.5*27 | 30.7625 | 535 | 575 | 8000 | 147 | 78700 | 399 | 5.9(100MT) | [5 empty] | EE Type
EI70 | 137 | EI70 | PC40 | 70.0*54.0*31.6 | 37.7618 | 698 | 541 | 10500 | 145 | 101530 | 519 | 7.61(100MT) | [5 empty] | EI Type
TYPE EC CORE |  | TYPE EC CORE | [15 empty] | EC Type
TYPE EE CORE |  | TYPE EE CORE
TYPE EF CORE |  | TYPE EF CORE
TYPE EFD CORE |  | TYPE EFD CORE
TYPE EI CORE |  | TYPE EI CORE
TYPE EP CORE |  | TYPE EP CORE
TYPE EPC CORE |  | TYPE EPC CORE
TYPE ER CORE |  | TYPE ER CORE
TYPE ETD CORE |  | TYPE ETD CORE
TYPE LP CORE |  | TYPE LP CORE
TYPE RM CORE |  | TYPE RM CORE
TYPE PTS CORE |  | TYPE PTS CORE
TYPE PQ CORE |  | TYPE PQ CORE
TYPE UU CORE |  | TYPE UU CORE
Core Material |  | Core Material
|  |  |  | Pcv (kW/m3) | Bs (mT) | Br (mT) | Hc (A/m) | Tc (℃) | db (kg/m3) | ρV (Ω·m)
|  |  | PC40 | 410 | 390 | 55 | 8.8 | 215 | 4800 | 6.5
|  |  | PC44 | 300 | 390 | 60 | 6.5 | 215 | 4800 | 6.5
|  |  | PC47 | 250 | 420 | 60 | 6 | 230 | 4900 | 4
|  |  | PC50 | 80 | 380 | 98 | 27.2 | 240 | 4800 | 30